Project Statement:

The Hopi village of Sipaulovi, located in Second Mesa, Arizona, has requested a design for a constructed wetland.  The purpose of the constructed wetland is to provide wastewater treatment for the entire village of Sipaulovi, including any future development that may happen in the area.  Currently the village intends to expand their residential area, increase attendance at their school, and to develop an area of Sipaulovi into a strip mall and gas station.  The village expects that the new development will increase the population of Sipaulovi by 50% within the next ten years.

Sipaulovi currently has lagoon-type wastewater treatment at three locations within the village.  These lagoons are operational and effective, however there are some odor issues, which the village hopes to remedy by constructing a single wetland to replace the three lagoons.  It is the desire of the community and Indian Health Service to centralize the wastewater treatment system for the village.

The client requests that the constructed wetlands be designed for a location approximately 3.5 miles (along the existing roads) from the southeastern most existing residential area.  DCS Solutions has proposed that the site be moved closer to the village to reduce piping costs, but the village did not approve this request, citing that the area between the treatment site and the existing residential development is set aside for future residential growth, and the village does not want the wastewater treatment site surrounded by homes.

Alternatives:

After meeting with Mike Stover, our consultant from Indian Health Service, it was determined that there are two main alternatives for treatment in this area.  The first is to create a large, central lagoon like the ones that the village has now.  The second alternative is to build the constructed wetlands as the client requests, and incorporate an Oswald design into the treatment system.  A basic overview of the two alternatives is presented below:

Free water surface constructed wetland (standard):

A Free Water Surface (FWS) constructed wetland (CW) is sometimes known as surface flow constructed wetland.  A FWS constructed wetland is an artificial wetland where the water level is above the ground level, or the surface of the water is exposed to the atmosphere.  FWS CW can be designed to be vegetated fully or partially.  The partially vegetated CW is more commonly called an open area FWS wetland because the water surface is more open to the atmosphere than its other FWS counterpart.

The performance of both open area and fully vegetated wetlands can be varied greatly, according to the EPA’s Constructed Wetlands Treatment of Municipal Wastewaters Manual, 2000.  Much of this variance is dependant on the region in which the constructed wetlands is located.  Regions can vary in climate, topography, wastewater characteristics, supported vegetation, and other factors.  The performance of a FWS CW can be enhanced through an appropriate design strategy and proper planning.  All well-planned, well-designed FWS CW’s have the ability to meet the EPA’s water quality standards.

Like all other treatment systems, FWS CW have flaws.  A FWS CW will require a few years to develop the desired vegetation density and litter which are essential for the bio-chemical process, before it can reach its full treatment potential.  FWS CW also requires a large parcel of land.  In comparison to the other types of CW system (the vegetated submerged bed CW), FWS CW requires more structures and control mechanisms. Due to the open water surface, it is an optimal breeding site for nuisance species such as mosquitoes.  The overall cost of FWS CW is, however, lower in general compared to the other CW methods, due to fewer requirements on technical maintenance.

Advanced facultative ponds:

The design of a larger facility that centralizes the treatment, and uses evaporation and infiltration to treat the wastewater, is summarized below.

Since the design capacity is also for future flow, the lagoons/ponds will be larger than the current lagoons combined.  In addition, the ponds will be constructed in parallel.  This is to allow for the situation where one pond may be offline to allow for evaporation, removal of sludge, and servicing of the infiltration zone.  The types of lagoons to be used are facultative ponds.  That is, the bacterial reactions include both aerobic and anaerobic decomposition (Hammer & Hammer, p. 406).

The climate at Sipaulovi is dry, with winds averaging 7 mph throughout the year (www.wrcc.dri.edu).  The coldest month is January, with an average minimum temperature of 16.2°F.  The average maximum temperature for the same period is 43.3°F (www.weather.gov).  Given the arid conditions, and using enough surface area, evaporation may also be used to dispose of the wastewater.

To treat the wastewater effectively, the soil in the unsaturated zone has to be aerobic and medium-to-fine textured (2 to 5 ft.) in thickness, with a neutral pH.  Minimum groundwater separation distance is 4 ft (EPA/625/R-92/005).  From the Soil Conservation Service website, the soil is loamy sand (up to 5 ft. depth).  In addition, the water table is at least 300 ft. from the original ground surface (Truini).  From field inspection, the project site has not been commercially developed.

Other reasons to consider a lagoon treatment system instead of a CW are:

- Low O & M

- Does not require highly skilled labor to operate the system

- The land requirements can be met

Design Alternative Strategy:

The best wastewater treatment solution for the village of Sipaulovi will be one that minimizes cost, odor, maintenance, and operating requirements.  The system should also be environmentally sound with regard to vectors, and any possible discharges from the treatment site.

Preferred Design:

Alternatives from our 30% proposal were presented to our client at a Sipaulovi Village Board of Directors meeting on March 31, 2007.  The alternatives were a facultative lagoon or an Oswald system.  Only the Oswald system alternative was capable of incorporating a constructed wetland.   Our client made it clear to us at the board meeting that a constructed wetland is the preferred method of treatment, however we continued to research both alternatives because a constructed wetland was not the method recommended by Indian Health Service (I.H.S.).  On Saturday, April 14th, 2007, DCS Solutions met with our client to present the design alternatives and get approval to proceed with the design.  We presented our client with the pro’s and con’s of each system and informed him that IHS was more likely to fund an Oswald if it did not have evaporative channels, but an evaporative basin.  Our client chose the Oswald system with evaporation channels, and free-surface constructed wetland, reasoning that they could reduce the complexity of the design when it came time to apply for funding.

Explanation:

The Oswald has the potential to have a constructed wetlands incorporated into the design, where the lagoon does not.  The Oswald system has been introduced in similar communities within the region, and has shown great reduction in BOD and settleable solids, as well as low operation and maintenance requirements.  It has been shown that the Oswald system is capable of treating wastewater streams for greater than 25 years with negligible accumulation of solids (Oswald).  The smaller surface area of the Oswald, as well as its treatment capacity is less likely to produce odors, or create vectors.

Although the Village of Sipaulovi has a large availability of land, the Oswald alternative will reduce the amount of land necessary for treatment, thus preserving a portion of the natural terrain and beauty of the area.  Once the waste stream is delivered to the treatment site, mechanical transport is not necessary.  The system should flow by gravity without the use of pumps, so there is no electrical cost, or pump maintenance necessary.

Calculations:

The design flow calculations were developed by using well-water usage figures for the village.  It was assumed that the amount of water flowing into the village would equal the amount of wastewater flowing out of the village.  An Excel spreadsheet was created which would calculate the design flow that must be treated by the system.

The current wastewater system handles 23,000 gallons per day.  The expected future demand is 97,000 gallons per day by the year 2027.

Calculation of the design flow is shown in Appendix A.

The area required for a lagoon (2.0 acres) is approximately half the area requirements for an Oswald (2.94 acres), excluding the evaporation portions of the system.  Calculations for these areas can be found in Appendix B, for the lagoon, and Appendix C, for the Oswald.  The Oswald system consumes more area than the lagoon system, but land is not in short availability.  The client expected to use approximately twenty acres for the wastewater site, and the Oswald system consumes approximately 20.5 acres.  A large portion of this land consumption is due to the access roads between the channels.  The lagoon system would have considerable less road surface area.

The surface area, volume, depth, and number of the Oswald ponds was calculated using an Excel spreadsheet, which was created for this design.  A printout of the Excel spreadsheet, including all relevant data entered, can be found in Appendix C.

The channels for the wetlands portion of this design were created using an Excel spreadsheet which was developed by Mike Stover.  The Surface area of the Oswald ponds and the channels were entered, along with the design flow, and depth of the channels.  For the design, it was assumed that 68% of the water infiltrates into the soil.  The total surface area needed for the channels was calculated by assuming that one channel would be taken out of service for maintenance and that the three remaining channels would have to accommodate the remaining volume, at a depth of three feet.  The total surface area of the four channels was determined to be 3.98 acres.  This can be seen on the Excel printout in Appendix D.

Final Design:

The final design, as laid out over a 20.5 acre area, involves two Oswald ponds, four evaporative channels, a chain link-fence, and a line of willow trees.

Flow enters the site from the northern side of the facility and is split into two separate pipes which send the wastewater stream to the bottom of the two Oswald ponds.  The Oswald ponds are 23.5 feet deep, to the surface of the water, and have a water surface area of 253 feet by 253 feet each, or 1.47 acres.  Combined, they have a surface area of 2.94 acres.  The Oswald ponds were designed so that one of the ponds can be taken off line by closing a stop-gate at the flow-splitter.  This is done so that one of the ponds may be drained for maintenance or repairs.  The Oswald that is still accepting wastewater flow is designed to be able to treat the increased flow for the required 20 day minimum hydraulic detention time.

From the Oswald ponds, the flow enters the evaporative channels by means of a baffle.  The baffle takes water from the Oswald by gravity and again, the flow is split into two separate pipes.  There are two channels per Oswald, and the channels have been sized so that all the flow from the two Oswalds can be handled by three of the four channels.  This allows for one of the channels to be drained for maintenance or repairs.  The channels are expected to be filled to a 3 foot water depth at twenty years.  The surface area of the channels will be 3.98 acres.  There is no discharge from the channels.  All of the water is disposed of through evaporation, transpiration and infiltration.

The chain link fence is intended to keep vehicles and animals out of the wastewater treatment site.  It will be six feet tall, completely enclosing the site, with a single access gate.

The willow tree wind barrier is placed protectively around the Oswald ponds, between the ponds and the prevailing wind direction.  This will reduce mixing of the ponds, aid in their effective treatment, and also provide an aesthetically pleasing visual barrier to the ponds.

Construction Cost Estimate Assumptions:

The Engineer’s Construction Cost Estimate was calculated based on the cost of construction for Indian Health Service’s past projects in the area.  A list of cost per construction item was obtained from Erika Schoen at I.H.S. and was the basis for estimation.  Labor costs were not added into the estimate, and will have to be estimated by a contractor.  The construction cost estimate can be found in Appendix E.

Conclusions and Recommendations:

The village of Sipaulovi will continue to expand.  Rapid growth is expected within the next ten years, and may continue at an exponential rate through the following ten years of the design life of the facility.  This design accommodates the rapid growth expected within the community within the next twenty years, and addresses the need for a central wastewater system.

Wastewater treatment systems similar to the one presented in this report have been successfully installed in villages in the surrounding area.  It is well matched to the desires and requirements of the village.  The low-cost, low-maintenance non-electric design will treat to the required standards, and provide a convenient and aesthetically pleasing system for the community.

References:

ArcGis, GIS Software Products, www.esri.com/software/arcgis/index.html

Coduto, Donald P.  ‘Geotechnical Engineering – Principles and Practices’, Prentice Hall, Upper Saddle River, NJ, 1999.

Eddy and Metcalf.  ‘Wastewater Engineering’, 4th Edition, McGraw-Hill, New York, NY, 2003.

Environmental Protection Agency http://cfpub.epa.gov/npdes/regs.cfm?program_id=0

Environmental Protection Agency, Manual, Constructed Wetlands Treatment of Municipal Wastewaters.  http://www.epa.gov/ORD/NRMRL

Environmental Protection Agency Manual, ‘Wastewater Treatment/Disposal for Small Communities’, EPA/625/R-92/005, September 1992, p. 108.

Haested Press, ‘Computer Applications in Hydraulic Engineering’, 6th Edition.

Haested Press, HECRAS software.

Hammer, M.J. & M.J. Jr.  ‘Water and Wastewater Technology’, 5th Edition, Prentice-Hall, Upper Saddle River, NJ, 2004.

Hopi Water Resources Department, The Hopi Tribe, P.O. Box 123, Kykotsmovi, AZ  86039.  (928)734-3712.

Janecek, James A., et. al.  ‘Village of Sipaulovi Wastewater Treatment Alternatives Research’, Sustainable Water Resources Alliance, P.O. Box 15600, Flagstaff, AZ  86011.  (928)523-2167.  Dec. 4, 2005.

Kavanaugh, Barry F.  ‘Surveying with Construction Applications’, Prentice-Hall Inc., Inglewood Cliff, NJ  07632.  1989.

Land Development Desktop-Release 14.

Mase, George.  Community Services Administrator, Sipaulovi, AZ.  Phone: (928) 737-2570.

Mays, Larry. ‘Water Resources Engineering’, 1st Edition, John Wiley & Sons, 1999.

Schoen, Erika.  E.I.T., Environmental Engineer, Indian Health Service, Pollacca, AZ.

Stover, Mike.  P.E., Environmental Engineering Consultant, Indian Health Service.

Interview Conducted March 7th, 2007.

Truini, Margot, Hydrologist.  US Geological Survey, Arizona Water Science Center, Flagstaff Programs, 2255 N. Gemini Drive, Flagstaff, AZ  86001.  Phone: (928) 556-7136.

http://www.weather.gov/cgi-bin

http://www.wrcc.dri.edu