## Slide 1: Combined Heat and Power System
Ryan Christie
Nathan Duray
Cory Donavon
Joseph Mudd
Jason Dikes
Ronald Stepanek
Supreme Manufacturing

## Slide 2: Project Proposal
Problem Statement
Power Production – Budget Analysis and Generator
Heat Recovery System – Proposed designs and current design
Control System – Revised Cost Analysis and configuration
Gantt Chart

## Slide 3: Problem Statement
Supreme Manufacturing is dissatisfied with the cost, reliability, and overall efficiency of their current power supply.

## Slide 4: Power Production

## Slide 5: budget analysis
 | 2 years of operation | 5 years of operation | 10 years of operation
fuel price of $7/1000cuft | -$4,455 | -$4,385 | -$4,271
fuel price of $5/1000cuft | -$2,590 | $273 | $5,047
fuel price of $3/1000cuft | -$727 | $4,933 | $14,366
The budget produced by a $4,500 18 kW, 240V, 261cuft/hr, Briggs & Stratton Generator
 | 2 years of operation | 5 years of operation | 10 years of operation
fuel price of $7/1000cuft | -$19,434 | -$13,116 | -$2,586
fuel price of $5/1000cuft | -$7,570 | $16,544 | $56,735
fuel price of $3/1000cuft | $4,294 | $46,205 | $116,057
The budget produced by a $23,646 94 kW, 480V, 1426cuft/hr, Generac Generator

## Slide 6: budget analysis

## Slide 7: Power Production
Briggs & Stratton 18kW
  4 year warranty
  Cost effective
  Fuel efficient

## Slide 8: Heat Recovery

## Slide 9: Proposed Ideas
Auxiliary power cycle
  Pros
    Additional Power supplied to facility
  Cons
    Expensive
    Limited gain

## Slide 10
Direct Heat Use
  Pros
    Reduced overall energy usage
    Increased overall efficiency
    Simple
  Cons
    Heat loss through transport of exhaust gases

## Slide 11: Scaled Design
Designed to function with 18kW Briggs and Stratton generator
  Smaller generator
    Can get closer to ovens
      Minimizes heat loss

## Slide 12: Heat Exchanger
Counterflow Concentric Heat Exchanger
  High heat exchange
  High output temperature to ovens
  Minimal exhaust restriction (backpressure)

## Slide 13: Heat Exchanger
Insulated
  Fiberglass insulation
Bolt on to generator
  Replace exhaust
Tie into oven’s intake or add a tie-in port

## Slide 14
Control System

## Slide 15: Cost Analysis
Component | Price ($)
Barebone Computer | 200
Touch Screen (GUI) | 255
CPU | 50
RAM | 40
Hard Drive | 50
Operating System | 100
Data Acquisition Unit | 400
Motors, Actuators, Servos | 500
Total | 1595
MATLAB | 2150

## Slide 16: Configuration
Temperature Control
  Oven and Heat recovery system
Heat exchanger throttling
  Cross flow exchange

## Slide 17
Connection to grid
  Communicating with utilities
Installation process
Choreographed assembly
Disassembly and Transportation
On-site installation

## Slide 18: Timeline

## Slide 19: Questions

## Slide 20: References
Barebone Computer Picture and Price – http://www.newegg.com/Product/Product.aspx?Item=N82E16856101124
Touch Screen Picture and Price – http://www.newegg.com/Product/Product.aspx?Item=N82E16824638075
CPU Picture and Price – http://www.newegg.com/Product/Product.aspx?Item=N82E16819116409
RAM Picture and Price – http://www.newegg.com/Product/Product.aspx?Item=N82E16820231314
Hard Drive Picture and Price – http://www.newegg.com/Product/Product.aspx?Item=N82E16820227510
Operating System Picture and Price – http://www.newegg.com/Product/Product.aspx?Item=N82E16832416550

## Slide 21: Generator specs
http://www.bsapowersolutions.com/pages/Briggs-16kW-20kW-Generator.php